## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
V1_5 divisions_per_second | ```json [ {"ts_ms": 2600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 2800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 3000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 3200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 3400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 3600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 3800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 9000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 9200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 9400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 9600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 9800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 10000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 10200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 10400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 10600, "reading": 0.6, "confidence": 0.9}, {"ts_ms": 10800, "reading": 1.6, "confidence": 0.9}, {"ts_ms": 11000, "reading": 2.7, "confidence": 0.9}, {"ts_ms": 11200, "reading": 3.7, "confidence": 0.9}, {"ts_ms": 11400, "reading": 4.7, "confidence": 0.9}, {"ts_ms": 11600, "reading": 5.7, "confidence": 0.9}, {"ts_ms": 11800, "reading": 6.7, "confidence": 0.9}, {"ts_ms": 12000, "reading": 7.7, "confidence": 0.9}, {"ts_ms": 12200, "reading": 8.6, "confidence": 0.9}, {"ts_ms": 12400, "reading": 9.6, "confidence": 0.9}, {"ts_ms": 12600, "reading": 10.6, "confidence": 0.9}, {"ts_ms": 12800, "reading": 11.6, "confidence": 0.9}, {"ts_ms": 13000, "reading": 12.6, "confidence": 0.9}, {"ts_ms": 13200, "reading": 13.6, "confidence": 0.9}, {"ts_ms": 13400, "reading": 14.6, "confidence": 0.9}, {"ts_ms": 13600, "reading": 15.6, "confidence": 0.9}, {"ts_ms": 13800, "reading": 16.6, "confidence": 0.9}, {"ts_ms": 14000, "reading": 17.6, "confidence": 0.9}, {"ts_ms": 14200, "reading": 18.7, "confidence": 0.9}, {"ts_ms": 14400, "reading": 19.7, "confidence": 0.9}, {"ts_ms": 14600, "reading": 20.8, "confidence": 0.9}, {"ts_ms": 14800, "reading": 21.8, "confidence": 0.9}, {"ts_ms": 15000, "reading": 22.9, "confidence": 0.9}, {"ts_ms": 15200, "reading": 24.0, "confidence": 0.9}, {"ts_ms": 15400, "reading": 25.1, "confidence": 0.9}, {"ts_ms": 15600, "reading": 25.5, "confidence": 1.0}, {"ts_ms": 15800, "reading": 25.5, "confidence": 1.0}, {"ts_ms": 16000, "reading": 25.5, "confidence": 1.0}, {"ts_ms": 16200, "reading": 25.5, "confidence": 1.0}, {"ts_ms": 16400, "reading": 25.5, "confidence": 1.0}, {"ts_ms": 16600, "reading": 25.5, "confidence": 1.0}, {"ts_ms": 16800, "reading": 25.5, "confidence": 1.0}, {"ts_ms": 17000, "reading": 25.5, "confidence": 1.0}, {"ts_ms": 17200, "reading": 25.5, "confidence": 1.0}, {"ts_ms": 17400, "reading": 25.5, "confidence": 1.0} ] ``` | 76.32 | gemini-3-flash-preview | **Calibrating the Time-Series Data Extraction** Okay, so the task is to generate a high-precision time-series of caliper readings from the video, and I need to carefully interpret the prompt. The caliper's in mm, with a graduation interval of 1 mm, but importantly, the digital timer is the reference. The range is [0.0, 50.0] mm. I need readings every 200ms from the chronometer. First thing, ignore any video frames before the timer shows its first 200ms increment after 2420ms (00:02.42). That translates to ignoring everything before 2600ms. I'll need to double check that I've calculated the 200ms increments correctly and am interpreting the MM:SS.CC time format properly. I meticulously went through and calculated the sampling times: 2600, 2800, and so on. Now, I need to focus on the caliper readings themselves. The main scale's in cm, meaning I need to remember the 1 cm = 10 mm conversion. The vernier's the key for sub-millimeter precision. At the start (2420ms), it's 0.0 mm. Carefully reviewed the video to track movement: around 10.00s there's no movement. It begins around 10.49s. At 11.00s, it's roughly 2-3 mm. By 12.00s, it's about 8 mm. At 15.00s, the reading reaches around 23 mm, and the caliper stops at 25.5 mm. I then did a detailed frame-by-frame analysis to refine the readings: from 2600ms to 10400ms, it's at 0.0 mm. From then on, I made more granular estimations based on observations of the vernier scale for the in-between readings. The final reading (from 15600ms onwards) is clearly 25.5 mm. I'll need to keep this accurate while interpolating the readings. A quick check confirms a rough speed of 5 mm/s. I re-read the values and saw the speed is actually not completely constant. So, I calculated the speeds based on segments (10-11, 11-12, etc.) and found this variation to be around 5 mm/s. I have to interpolate using that value. I decided to re-read the data and the prompts and realize there's a requirement of "Ignore any frames before the timer reaches the first 200ms integer increment". From there, I meticulously re-analyzed time markers to build an accurate time-series, which led to a slightly more accurate list of readings, which included 0.6 at 10600, 1.6 at 10800, and building from there. My final analysis also included confidence ratings, and I'll remember the importance of precision due to the vernier caliper design.