## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
UP_DOWN_UP-DOWN_V4_33 divisions_per_second | ```json [ {"ts_ms": 1600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 1800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 2000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 2200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 2400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 2600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 2800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 3000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 3200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 3400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 3600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 3800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 9000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 9200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 9400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 9600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 9800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 10000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 10200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 10400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 10600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 10800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 11000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 11200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 11400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 11600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 11800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 12000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 12200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 12400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 12600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 12800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 13000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 13200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 13400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 13600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 13800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 14000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 14200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 14400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 14600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 14800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 15000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 15200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 15400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 15600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 15800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 16000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 16200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 16400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 16600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 16800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 17000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 17200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 17400, "reading": 0.0, "confidence": 1.0} ] ``` | 55.26 | gemini-3-flash-preview | **Analysis of Dial Gauge Time-Series Data** Okay, so I need to extract a time-series of readings from this video. The gauge is a dial type, with a main dial marked in 0.01 mm increments and a sub-dial indicating 0-10 mm. There's also a digital chronometer in the frame. My goal is to sample the gauge readings every 200ms, synchronized with the chronometer's time, starting from the first 200ms integer increment. First, I identified the gauge's scale and its operating principle. The main dial has 100 graduations, so one full rotation corresponds to 1 mm, with each small graduation being 0.01 mm. The sub-dial covers a range of 0-10 mm. Both needles move clockwise as the value increases. Then, I focused on the chronometer. It displays time in `mm:ss.cc` format, which needs conversion to milliseconds (`ts_ms`). The video begins at 00:01.47, which is 1470 ms. The prompt specifies that the first reading should be taken at the next 200ms increment after this starting time. So, I need to ignore anything before 1600ms (00:01.60). The sampling interval is clearly defined as 200ms. Now, analyzing the video, from 00:01.60 onward, I went through the entire video frame by frame. Initially, there was a temptation to find incremental changes. *However*, the probe is at rest against the metal block. The screw on the left, that would modify the reading, is not being turned. *Crucially*, the needle on both the main and sub-dial remained perfectly stationary at 0.00 mm for the entire video duration. A close re-examination of the frames and the overall mechanism reinforced this observation. So, I've got a constant reading. Given the chronometer start at 1470ms and the 200ms sampling interval, my first sample point is at 1600ms, and the subsequent samples are at 200ms increments. I carefully calculated and listed each time point until the video ends, with the last at 17400ms. I confirmed the readings for the entire time range, as 0.00. This is based on the gauge's markings. Sub-dial at 0, main dial at 0. So, I'm generating a time series, where each reading is 0.00 mm, from 1600 ms up to 17400ms in 200ms steps. I am confident that these are accurate readings from the video.