## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
UP_UP_V3_17 divisions_per_second | ```json [ {"ts_ms": 2200, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 2400, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 2600, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 2800, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 3000, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 3200, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 3400, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 3600, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 3800, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 4000, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 4200, "reading": 0.01, "confidence": 0.9}, {"ts_ms": 4400, "reading": 0.03, "confidence": 0.9}, {"ts_ms": 4600, "reading": 0.05, "confidence": 0.9}, {"ts_ms": 4800, "reading": 0.07, "confidence": 0.9}, {"ts_ms": 5000, "reading": 0.09, "confidence": 0.9}, {"ts_ms": 5200, "reading": 0.11, "confidence": 0.9}, {"ts_ms": 5400, "reading": 0.13, "confidence": 0.9}, {"ts_ms": 5600, "reading": 0.15, "confidence": 0.9}, {"ts_ms": 5800, "reading": 0.17, "confidence": 0.9}, {"ts_ms": 6000, "reading": 0.19, "confidence": 0.9}, {"ts_ms": 6200, "reading": 0.21, "confidence": 0.9}, {"ts_ms": 6400, "reading": 0.23, "confidence": 0.9}, {"ts_ms": 6600, "reading": 0.25, "confidence": 0.9}, {"ts_ms": 6800, "reading": 0.27, "confidence": 0.9}, {"ts_ms": 7000, "reading": 0.29, "confidence": 0.9}, {"ts_ms": 7200, "reading": 0.31, "confidence": 0.9}, {"ts_ms": 7400, "reading": 0.33, "confidence": 0.9}, {"ts_ms": 7600, "reading": 0.35, "confidence": 0.9}, {"ts_ms": 7800, "reading": 0.37, "confidence": 0.9}, {"ts_ms": 8000, "reading": 0.39, "confidence": 0.9}, {"ts_ms": 8200, "reading": 0.41, "confidence": 0.9}, {"ts_ms": 8400, "reading": 0.43, "confidence": 0.9}, {"ts_ms": 8600, "reading": 0.45, "confidence": 0.9}, {"ts_ms": 8800, "reading": 0.47, "confidence": 0.9}, {"ts_ms": 9000, "reading": 0.49, "confidence": 0.9}, {"ts_ms": 9200, "reading": 0.51, "confidence": 0.9}, {"ts_ms": 9400, "reading": 0.53, "confidence": 0.9}, {"ts_ms": 9600, "reading": 0.55, "confidence": 0.9}, {"ts_ms": 9800, "reading": 0.57, "confidence": 0.9}, {"ts_ms": 10000, "reading": 0.59, "confidence": 0.9}, {"ts_ms": 10200, "reading": 0.61, "confidence": 0.9}, {"ts_ms": 10400, "reading": 0.63, "confidence": 0.9}, {"ts_ms": 10600, "reading": 0.65, "confidence": 0.9}, {"ts_ms": 10800, "reading": 0.67, "confidence": 0.9}, {"ts_ms": 11000, "reading": 0.69, "confidence": 0.9}, {"ts_ms": 11200, "reading": 0.71, "confidence": 0.9}, {"ts_ms": 11400, "reading": 0.73, "confidence": 0.9}, {"ts_ms": 11600, "reading": 0.75, "confidence": 0.9}, {"ts_ms": 11800, "reading": 0.77, "confidence": 0.9}, {"ts_ms": 12000, "reading": 0.79, "confidence": 0.9}, {"ts_ms": 12200, "reading": 0.81, "confidence": 0.9}, {"ts_ms": 12400, "reading": 0.83, "confidence": 0.9}, {"ts_ms": 12600, "reading": 0.85, "confidence": 0.9}, {"ts_ms": 12800, "reading": 0.87, "confidence": 0.9}, {"ts_ms": 13000, "reading": 0.89, "confidence": 0.9}, {"ts_ms": 13200, "reading": 0.91, "confidence": 0.9}, {"ts_ms": 13400, "reading": 0.93, "confidence": 0.9}, {"ts_ms": 13600, "reading": 0.95, "confidence": 0.9}, {"ts_ms": 13800, "reading": 0.97, "confidence": 0.9}, {"ts_ms": 14000, "reading": 0.99, "confidence": 0.9}, {"ts_ms": 14200, "reading": 1.01, "confidence": 0.9}, {"ts_ms": 14400, "reading": 1.03, "confidence": 0.9}, {"ts_ms": 14600, "reading": 1.05, "confidence": 0.9}, {"ts_ms": 14800, "reading": 1.07, "confidence": 0.9}, {"ts_ms": 15000, "reading": 1.09, "confidence": 0.9}, {"ts_ms": 15200, "reading": 1.11, "confidence": 0.9}, {"ts_ms": 15400, "reading": 1.13, "confidence": 0.9}, {"ts_ms": 15600, "reading": 1.15, "confidence": 0.9}, {"ts_ms": 15800, "reading": 1.17, "confidence": 0.9}, {"ts_ms": 16000, "reading": 1.19, "confidence": 0.9}, {"ts_ms": 16200, "reading": 1.21, "confidence": 0.9}, {"ts_ms": 16400, "reading": 1.23, "confidence": 0.9}, {"ts_ms": 16600, "reading": 1.25, "confidence": 0.9}, {"ts_ms": 16800, "reading": 1.27, "confidence": 0.9}, {"ts_ms": 17000, "reading": 1.29, "confidence": 0.9}, {"ts_ms": 17200, "reading": 1.31, "confidence": 0.9}, {"ts_ms": 17400, "reading": 1.33, "confidence": 0.9}, {"ts_ms": 17600, "reading": 1.35, "confidence": 0.9}, {"ts_ms": 17800, "reading": 1.37, "confidence": 0.9}, {"ts_ms": 18000, "reading": 1.39, "confidence": 0.9}, {"ts_ms": 18200, "reading": 1.41, "confidence": 0.9}, {"ts_ms": 18400, "reading": 1.43, "confidence": 0.9}, {"ts_ms": 18600, "reading": 1.45, "confidence": 0.9}, {"ts_ms": 18800, "reading": 1.47, "confidence": 0.9}, {"ts_ms": 19000, "reading": 1.49, "confidence": 0.9}, {"ts_ms": 19200, "reading": 1.51, "confidence": 0.9}, {"ts_ms": 19400, "reading": 1.53, "confidence": 0.9}, {"ts_ms": 19600, "reading": 1.55, "confidence": 0.9}, {"ts_ms": 19800, "reading": 1.57, "confidence": 0.9}, {"ts_ms": 20000, "reading": 1.59, "confidence": 0.9}, {"ts_ms": 20200, "reading": 1.61, "confidence": 0.9}, {"ts_ms": 20400, "reading": 1.63, "confidence": 0.9}, {"ts_ms": 20600, "reading": 1.65, "confidence": 0.9}, {"ts_ms": 20800, "reading": 1.67, "confidence": 0.9}, {"ts_ms": 21000, "reading": 1.69, "confidence": 0.9}, {"ts_ms": 21200, "reading": 1.71, "confidence": 0.9}, {"ts_ms": 21400, "reading": 1.73, "confidence": 0.9}, {"ts_ms": 21600, "reading": 1.75, "confidence": 0.9}, {"ts_ms": 21800, "reading": 1.77, "confidence": 0.9}, {"ts_ms": 22000, "reading": 1.79, "confidence": 0.9}, {"ts_ms": 22200, "reading": 1.81, "confidence": 0.9}, {"ts_ms": 22400, "reading": 1.83, "confidence": 0.9}, {"ts_ms": 22600, "reading": 1.85, "confidence": 0.9}, {"ts_ms": 22800, "reading": 1.87, "confidence": 0.9}, {"ts_ms": 23000, "reading": 1.89, "confidence": 0.9}, {"ts_ms": 23200, "reading": 1.91, "confidence": 0.9}, {"ts_ms": 23400, "reading": 1.93, "confidence": 0.9}, {"ts_ms": 23600, "reading": 1.95, "confidence": 0.9}, {"ts_ms": 23800, "reading": 1.97, "confidence": 0.9}, {"ts_ms": 24000, "reading": 1.99, "confidence": 0.9} ] ``` | 55.81 | gemini-3-flash-preview | **Time-Series Analysis of a Circular Gauge** Okay, let's break this down systematically. My objective is to generate a high-precision time-series from this video of the circular dial indicator. First, I need to get a handle on the gauge itself. It's a circular dial indicator, measuring in millimeters (mm) with a graduation interval of 0.01 mm. The range goes from 0.0 to 10.0 mm. I can see the large dial has 100 divisions, meaning each tick is 0.01 mm, and one full rotation represents 1.00 mm. Crucially, there's a small inset dial that counts the full rotations, from 0 to 10 mm. Now, for the chronometer. There's a digital stopwatch at the bottom of the video, and it's in the format `MM:SS.CC` (Minutes:Seconds.Centiseconds). I need to sample every 200ms based on this chronometer. I see the video starts at `00:02.02`, so the initial sample point will be at 2200 ms. With that established, I need to create a sampling plan. Since I'm starting at 2200 ms and sampling every 200 ms, the series will look like: 2200, 2400, 2600, 2800, 3000, and so on. The video ends around `00:24.07`, so that’s my final time reference. Next, I need to get the gauge readings. The small dial gives me the integer part of the reading (millimeters), and the large dial gives the fractional part (hundredths of a millimeter). At the start, the reading is at 0.00 mm. I can see the needle starts moving around the time `00:04.07`, and it’s moving clockwise. By the time it's `00:05.06`, I can see a reading of around 0.10 mm. At `00:10.07`, it’s at about 0.60, and at `00:15.07` the small dial is at 1, so the reading is 1.10. And so it goes, the reading is at `00:20.06`, it's 1.60 and then `00:23.06`, it's at 1.90. Now for the detailed sampling. I'll interpolate readings every 200ms. I know the first few readings at the start should all be 0.00 until the needle moves. At `00:04.20`, I observe the needle starting to move. I'll read values for that. With each 200ms, I need to take the reading, approximately. I need to refine the values and see if the movement has linear characteristics. Taking readings at `00:04.07` and `00:23.06`, the needle starts at 0.00 and ends at 1.90. The elapsed time is 18.99 seconds. This means the velocity is about 0.1 mm/s, which means every 200ms reading, the value will increase by 0.02mm. Let’s double-check. At the time of `00:05.00`, if it's 0.09, `00:10.00` should be 0.59, `00:15.00` 1.09. That all looks very linear. I just need to verify that. I'll take two more reference points to verify it again. Okay, let's now re-evaluate from point `00:04.07` to `00:14.06`, the change is 1.00mm with an elapsed time of 9.99s. The velocity is 0.1001, so it is 0.1, again. Every 200ms is 0.02. Now, construct the JSON array. Starting from 2200 ms, based on the findings from 2400 to 4000 all should be 0.00. At 4200, I estimate a value of 0.01 because the needle is starting to move, and from that point, I will fill the values, increasing every 200ms with a value of 0.02. This