## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
UP_UP_V1_5 divisions_per_second | ```json [{"ts_ms": 2400, "reading": 0.0, "confidence": 0.9}, {"ts_ms": 2600, "reading": 0.0, "confidence": 0.9}, {"ts_ms": 2800, "reading": 0.0, "confidence": 0.9}, {"ts_ms": 3000, "reading": 0.0, "confidence": 0.9}, {"ts_ms": 3200, "reading": 0.0, "confidence": 0.9}, {"ts_ms": 3400, "reading": 0.0, "confidence": 0.9}, {"ts_ms": 3600, "reading": 0.0, "confidence": 0.9}, {"ts_ms": 3800, "reading": 0.0, "confidence": 0.9}, {"ts_ms": 4000, "reading": 0.0, "confidence": 0.9}, {"ts_ms": 4200, "reading": 0.0, "confidence": 0.9}, {"ts_ms": 4400, "reading": 0.0, "confidence": 0.9}, {"ts_ms": 4600, "reading": 0.05, "confidence": 0.9}, {"ts_ms": 4800, "reading": 0.1, "confidence": 0.9}, {"ts_ms": 5000, "reading": 0.15, "confidence": 0.9}, {"ts_ms": 5200, "reading": 0.2, "confidence": 0.9}, {"ts_ms": 5400, "reading": 0.25, "confidence": 0.9}, {"ts_ms": 5600, "reading": 0.3, "confidence": 0.9}, {"ts_ms": 5800, "reading": 0.35, "confidence": 0.9}, {"ts_ms": 6000, "reading": 0.4, "confidence": 0.9}, {"ts_ms": 6200, "reading": 0.45, "confidence": 0.9}, {"ts_ms": 6400, "reading": 0.5, "confidence": 0.9}, {"ts_ms": 6600, "reading": 0.55, "confidence": 0.9}, {"ts_ms": 6800, "reading": 0.6, "confidence": 0.9}, {"ts_ms": 7000, "reading": 0.65, "confidence": 0.9}, {"ts_ms": 7200, "reading": 0.7, "confidence": 0.9}, {"ts_ms": 7400, "reading": 0.75, "confidence": 0.9}, {"ts_ms": 7600, "reading": 0.8, "confidence": 0.9}, {"ts_ms": 7800, "reading": 0.85, "confidence": 0.9}, {"ts_ms": 8000, "reading": 0.9, "confidence": 0.9}, {"ts_ms": 8200, "reading": 0.95, "confidence": 0.9}, {"ts_ms": 8400, "reading": 1.0, "confidence": 0.9}, {"ts_ms": 8600, "reading": 1.05, "confidence": 0.9}, {"ts_ms": 8800, "reading": 1.1, "confidence": 0.9}, {"ts_ms": 9000, "reading": 1.15, "confidence": 0.9}, {"ts_ms": 9200, "reading": 1.2, "confidence": 0.9}, {"ts_ms": 9400, "reading": 1.25, "confidence": 0.9}, {"ts_ms": 9600, "reading": 1.3, "confidence": 0.9}, {"ts_ms": 9800, "reading": 1.35, "confidence": 0.9}, {"ts_ms": 10000, "reading": 1.4, "confidence": 0.9}, {"ts_ms": 10200, "reading": 1.45, "confidence": 0.9}, {"ts_ms": 10400, "reading": 1.5, "confidence": 0.9}, {"ts_ms": 10600, "reading": 1.55, "confidence": 0.9}, {"ts_ms": 10800, "reading": 1.6, "confidence": 0.9}, {"ts_ms": 11000, "reading": 1.65, "confidence": 0.9}, {"ts_ms": 11200, "reading": 1.7, "confidence": 0.9}, {"ts_ms": 11400, "reading": 1.75, "confidence": 0.9}, {"ts_ms": 11600, "reading": 1.8, "confidence": 0.9}, {"ts_ms": 11800, "reading": 1.85, "confidence": 0.9}, {"ts_ms": 12000, "reading": 1.9, "confidence": 0.9}, {"ts_ms": 12200, "reading": 1.95, "confidence": 0.9}, {"ts_ms": 12400, "reading": 2.0, "confidence": 0.9}, {"ts_ms": 12600, "reading": 2.05, "confidence": 0.9}, {"ts_ms": 12800, "reading": 2.1, "confidence": 0.9}, {"ts_ms": 13000, "reading": 2.15, "confidence": 0.9}, {"ts_ms": 13200, "reading": 2.2, "confidence": 0.9}, {"ts_ms": 13400, "reading": 2.25, "confidence": 0.9}, {"ts_ms": 13600, "reading": 2.3, "confidence": 0.9}, {"ts_ms": 13800, "reading": 2.35, "confidence": 0.9}, {"ts_ms": 14000, "reading": 2.4, "confidence": 0.9}, {"ts_ms": 14200, "reading": 2.45, "confidence": 0.9}, {"ts_ms": 14400, "reading": 2.5, "confidence": 0.9}, {"ts_ms": 14600, "reading": 2.55, "confidence": 0.9}, {"ts_ms": 14800, "reading": 2.6, "confidence": 0.9}, {"ts_ms": 15000, "reading": 2.65, "confidence": 0.9}, {"ts_ms": 15200, "reading": 2.7, "confidence": 0.9}, {"ts_ms": 15400, "reading": 2.75, "confidence": 0.9}, {"ts_ms": 15600, "reading": 2.8, "confidence": 0.9}, {"ts_ms": 15800, "reading": 2.85, "confidence": 0.9}, {"ts_ms": 16000, "reading": 2.9, "confidence": 0.9}, {"ts_ms": 16200, "reading": 2.95, "confidence": 0.9}, {"ts_ms": 16400, "reading": 3.0, "confidence": 0.9}, {"ts_ms": 16600, "reading": 3.05, "confidence": 0.9}, {"ts_ms": 16800, "reading": 3.1, "confidence": 0.9}, {"ts_ms": 17000, "reading": 3.15, "confidence": 0.9}, {"ts_ms": 17200, "reading": 3.2, "confidence": 0.9}, {"ts_ms": 17400, "reading": 3.25, "confidence": 0.9}, {"ts_ms": 17600, "reading": 3.3, "confidence": 0.9}, {"ts_ms": 17800, "reading": 3.35, "confidence": 0.9}, {"ts_ms": 18000, "reading": 3.4, "confidence": 0.9}, {"ts_ms": 18200, "reading": 3.45, "confidence": 0.9}, {"ts_ms": 18400, "reading": 3.5, "confidence": 0.9}, {"ts_ms": 18600, "reading": 3.55, "confidence": 0.9}, {"ts_ms": 18800, "reading": 3.6, "confidence": 0.9}, {"ts_ms": 19000, "reading": 3.65, "confidence": 0.9}, {"ts_ms": 19200, "reading": 3.7, "confidence": 0.9}, {"ts_ms": 19400, "reading": 3.75, "confidence": 0.9}, {"ts_ms": 19600, "reading": 3.8, "confidence": 0.9}, {"ts_ms": 19800, "reading": 3.85, "confidence": 0.9}, {"ts_ms": 20000, "reading": 3.9, "confidence": 0.9}, {"ts_ms": 20200, "reading": 3.95, "confidence": 0.9}, {"ts_ms": 20400, "reading": 4.0, "confidence": 0.9}, {"ts_ms": 20600, "reading": 4.05, "confidence": 0.9}, {"ts_ms": 20800, "reading": 4.1, "confidence": 0.9}, {"ts_ms": 21000, "reading": 4.15, "confidence": 0.9}, {"ts_ms": 21200, "reading": 4.2, "confidence": 0.9}, {"ts_ms": 21400, "reading": 4.25, "confidence": 0.9}, {"ts_ms": 21600, "reading": 4.3, "confidence": 0.9}, {"ts_ms": 21800, "reading": 4.35, "confidence": 0.9}, {"ts_ms": 22000, "reading": 4.4, "confidence": 0.9}, {"ts_ms": 22200, "reading": 4.45, "confidence": 0.9}, {"ts_ms": 22400, "reading": 4.5, "confidence": 0.9}, {"ts_ms": 22600, "reading": 4.55, "confidence": 0.9}, {"ts_ms": 22800, "reading": 4.6, "confidence": 0.9}, {"ts_ms": 23000, "reading": 4.65, "confidence": 0.9}, {"ts_ms": 23200, "reading": 4.7, "confidence": 0.9}, {"ts_ms": 23400, "reading": 4.75, "confidence": 0.9}, {"ts_ms": 23600, "reading": 4.8, "confidence": 0.9}, {"ts_ms": 23800, "reading": 4.85, "confidence": 0.9}, {"ts_ms": 24000, "reading": 4.9, "confidence": 0.9}, {"ts_ms": 24200, "reading": 4.95, "confidence": 0.9}, {"ts_ms": 24400, "reading": 5.0, "confidence": 0.9}, {"ts_ms": 24600, "reading": 5.05, "confidence": 0.9}, {"ts_ms": 24800, "reading": 5.1, "confidence": 0.9}, {"ts_ms": 25000, "reading": 5.15, "confidence": 0.9}, {"ts_ms": 25200, "reading": 5.2, "confidence": 0.9}, {"ts_ms": 25400, "reading": 5.25, "confidence": 0.9}, {"ts_ms": 25600, "reading": 5.3, "confidence": 0.9}, {"ts_ms": 25800, "reading": 5.35, "confidence": 0.9}, {"ts_ms": 26000, "reading": 5.4, "confidence": 0.9}, {"ts_ms": 26200, "reading": 5.45, "confidence": 0.9}, {"ts_ms": 26400, "reading": 5.5, "confidence": 0.9}, {"ts_ms": 26600, "reading": 5.55, "confidence": 0.9}, {"ts_ms": 26800, "reading": 5.6, "confidence": 0.9}, {"ts_ms": 27000, "reading": 5.65, "confidence": 0.9}, {"ts_ms": 27200, "reading": 5.7, "confidence": 0.9}, {"ts_ms": 27400, "reading": 5.75, "confidence": 0.9}, {"ts_ms": 27600, "reading": 5.8, "confidence": 0.9}, {"ts_ms": 27800, "reading": 5.85, "confidence": 0.9}, {"ts_ms": 28000, "reading": 5.9, "confidence": 0.9}, {"ts_ms": 28200, "reading": 5.95, "confidence": 0.9}, {"ts_ms": 28400, "reading": 6.0, "confidence": 0.9}, {"ts_ms": 28600, "reading": 6.05, "confidence": 0.9}, {"ts_ms": 28800, "reading": 6.1, "confidence": 0.9}, {"ts_ms": 29000, "reading": 6.15, "confidence": 0.9}, {"ts_ms": 29200, "reading": 6.2, "confidence": 0.9}, {"ts_ms": 29400, "reading": 6.25, "confidence": 0.9}, {"ts_ms": 29600, "reading": 6.3, "confidence": 0.9}, {"ts_ms": 29800, "reading": 6.35, "confidence": 0.9}, {"ts_ms": 30000, "reading": 6.4, "confidence": 0.9}, {"ts_ms": 30200, "reading": 6.45, "confidence": 0.9}, {"ts_ms": 30400, "reading": 6.5, "confidence": 0.9}, {"ts_ms": 30600, "reading": 6.55, "confidence": 0.9}, {"ts_ms": 30800, "reading": 6.6, "confidence": 0.9}, {"ts_ms": 31000, "reading": 6.65, "confidence": 0.9}, {"ts_ms": 31200, "reading": 6.7, "confidence": 0.9}, {"ts_ms": 31400, "reading": 6.75, "confidence": 0.9}, {"ts_ms": 31600, "reading": 6.8, "confidence": 0.9}, {"ts_ms": 31800, "reading": 6.85, "confidence": 0.9}, {"ts_ms": 32000, "reading": 6.9, "confidence": 0.9}, {"ts_ms": 32200, "reading": 6.95, "confidence": 0.9}, {"ts_ms": 32400, "reading": 7.0, "confidence": 0.9}, {"ts_ms": 32600, "reading": 7.05, "confidence": 0.9}, {"ts_ms": 32800, "reading": 7.1, "confidence": 0.9}, {"ts_ms": 33000, "reading": 7.15, "confidence": 0.9}, {"ts_ms": 33200, "reading": 7.2, "confidence": 0.9}, {"ts_ms": 33400, "reading": 7.25, "confidence": 0.9}, {"ts_ms": 33600, "reading": 7.3, "confidence": 0.9}, {"ts_ms": 33800, "reading": 7.35, "confidence": 0.9}, {"ts_ms": 34000, "reading": 7.4, "confidence": 0.9}, {"ts_ms": 34200, "reading": 7.45, "confidence": 0.9}, {"ts_ms": 34400, "reading": 7.5, "confidence": 0.9}, {"ts_ms": 34600, "reading": 7.55, "confidence": 0.9}, {"ts_ms": 34800, "reading": 7.6, "confidence": 0.9}, {"ts_ms": 35000, "reading": 7.65, "confidence": 0.9}, {"ts_ms": 35200, "reading": 7.7, "confidence": 0.9}, {"ts_ms": 35400, "reading": 7.75, "confidence": 0.9}, {"ts_ms": 35600, "reading": 7.8, "confidence": 0.9}, {"ts_ms": 35800, "reading": 7.85, "confidence": 0.9}, {"ts_ms": 36000, "reading": 7.9, "confidence": 0.9}, {"ts_ms": 36200, "reading": 7.95, "confidence": 0.9}, {"ts_ms": 36400, "reading": 8.0, "confidence": 0.9}, {"ts_ms": 36600, "reading": 8.05, "confidence": 0.9}, {"ts_ms": 36800, "reading": 8.1, "confidence": 0.9}, {"ts_ms": 37000, "reading": 8.15, "confidence": 0.9}, {"ts_ms": 37200, "reading": 8.2, "confidence": 0.9}, {"ts_ms": 37400, "reading": 8.25, "confidence": 0.9}, {"ts_ms": 37600, "reading": 8.3, "confidence": 0.9}, {"ts_ms": 37800, "reading": 8.35, "confidence": 0.9}, {"ts_ms": 38000, "reading": 8.4, "confidence": 0.9}, {"ts_ms": 38200, "reading": 8.45, "confidence": 0.9}, {"ts_ms": 38400, "reading": 8.5, "confidence": 0.9}, {"ts_ms": 38600, "reading": 8.55, "confidence": 0.9}, {"ts_ms": 38800, "reading": 8.6, "confidence": 0.9}, {"ts_ms": 39000, "reading": 8.65, "confidence": 0.9}, {"ts_ms": 39200, "reading": 8.7, "confidence": 0.9}, {"ts_ms": 39400, "reading": 8.75, "confidence": 0.9}, {"ts_ms": 39600, "reading": 8.8, "confidence": 0.9}, {"ts_ms": 39800, "reading": 8.85, "confidence": 0.9}, {"ts_ms": 40000, "reading": 8.9, "confidence": 0.9}, {"ts_ms": 40200, "reading": 8.95, "confidence": 0.9}, {"ts_ms": 40400, "reading": 9.0, "confidence": 0.9}, {"ts_ms": 40600, "reading": 9.05, "confidence": 0.9}, {"ts_ms": 40800, "reading": 9.1, "confidence": 0.9}, {"ts_ms": 41000, "reading": 9.15, "confidence": 0.9}, {"ts_ms": 41200, "reading": 9.2, "confidence": 0.9}, {"ts_ms": 41400, "reading": 9.25, "confidence": 0.9}, {"ts_ms": 41600, "reading": 9.3, "confidence": 0.9}, {"ts_ms": 41800, "reading": 9.35, "confidence": 0.9}, {"ts_ms": 42000, "reading": 9.4, "confidence": 0.9}, {"ts_ms": 42200, "reading": 9.45, "confidence": 0.9}, {"ts_ms": 42400, "reading": 9.5, "confidence": 0.9}, {"ts_ms": 42600, "reading": 9.55, "confidence": 0.9}, {"ts_ms": 42800, "reading": 9.6, "confidence": 0.9}, {"ts_ms": 43000, "reading": 9.65, "confidence": 0.9}, {"ts_ms": 43200, "reading": 9.7, "confidence": 0.9}, {"ts_ms": 43400, "reading": 9.75, "confidence": 0.9}, {"ts_ms": 43600, "reading": 9.8, "confidence": 0.9}, {"ts_ms": 43800, "reading": 9.85, "confidence": 0.9}, {"ts_ms": 44000, "reading": 9.9, "confidence": 0.9}, {"ts_ms": 44200, "reading": 9.95, "confidence": 0.9}, {"ts_ms": 44400, "reading": 10.0, "confidence": 0.9}, {"ts_ms": 44600, "reading": 9.95, "confidence": 0.9}, {"ts_ms": 44800, "reading": 9.9, "confidence": 0.9}, {"ts_ms": 45000, "reading": 9.85, "confidence": 0.9}, {"ts_ms": 45200, "reading": 9.8, "confidence": 0.9}, {"ts_ms": 45400, "reading": 9.75, "confidence": 0.9}, {"ts_ms": 45600, "reading": 9.7, "confidence": 0.9}, {"ts_ms": 45800, "reading": 9.65, "confidence": 0.9}, {"ts_ms": 46000, "reading": 9.6, "confidence": 0.9}, {"ts_ms": 46200, "reading": 9.55, "confidence": 0.9}, {"ts_ms": 46400, "reading": 9.5, "confidence": 0.9}, {"ts_ms": 46600, "reading": 9.45, "confidence": 0.9}, {"ts_ms": 46800, "reading": 9.4, "confidence": 0.9}, {"ts_ms": 47000, "reading": 9.35, "confidence": 0.9}, {"ts_ms": 47200, "reading": 9.3, "confidence": 0.9}, {"ts_ms": 47400, "reading": 9.25, "confidence": 0.9}, {"ts_ms": 47600, "reading": 9.2, "confidence": 0.9}, {"ts_ms": 47800, "reading": 9.15, "confidence": 0.9}, {"ts_ms": 48000, "reading": 9.1, "confidence": 0.9}, {"ts_ms": 48200, "reading": 9.05, "confidence": 0.9}, {"ts_ms": 48400, "reading": 9.0, "confidence": 0.9}, {"ts_ms": 48600, "reading": 8.95, "confidence": 0.9}, {"ts_ms": 48800, "reading": 8.9, "confidence": 0.9}, {"ts_ms": 49000, "reading": 8.85, "confidence": 0.9}, {"ts_ms": 49200, "reading": 8.8, "confidence": 0.9}, {"ts_ms": 49400, "reading": 8.75, "confidence": 0.9}, {"ts_ms": 49600, "reading": 8.7, "confidence": 0.9}, {"ts_ms": 49800, "reading": 8.65, "confidence": 0.9}, {"ts_ms": 50000, "reading": 8.6, "confidence": 0.9}, {"ts_ms": 50200, "reading": 8.55, "confidence": 0.9}, {"ts_ms": 50400, "reading": 8.5, "confidence": 0.9}, {"ts_ms": 50600, "reading": 8.45, "confidence": 0.9}, {"ts_ms": 50800, "reading": 8.4, "confidence": 0.9}, {"ts_ms": 51000, "reading": 8.35, "confidence": 0.9}, {"ts_ms": 51200, "reading": 8.3, "confidence": 0.9}, {"ts_ms": 51400, "reading": 8.25, "confidence": 0.9}, {"ts_ms": 51600, "reading": 8.2, "confidence": 0.9}, {"ts_ms": 51800, "reading": 8.15, "confidence": 0.9}, {"ts_ms": 52000, "reading": 8.1, "confidence": 0.9}, {"ts_ms": 52200, "reading": 8.05, "confidence": 0.9}, {"ts_ms": 52400, "reading": 8.0, "confidence": 0.9}, {"ts_ms": 52600, "reading": 7.95, "confidence": 0.9}, {"ts_ms": 52800, "reading": 7.9, "confidence": 0.9}, {"ts_ms": 53000, "reading": 7.85, "confidence": 0.9}, {"ts_ms": 53200, "reading": 7.8, "confidence": 0.9}, {"ts_ms": 53400, "reading": 7.75, "confidence": 0.9}, {"ts_ms": 53600, "reading": 7.7, "confidence": 0.9}, {"ts_ms": 53800, "reading": 7.65, "confidence": 0.9}, {"ts_ms": 54000, "reading": 7.6, "confidence": 0.9}, {"ts_ms": 54200, "reading": 7.55, "confidence": 0.9}, {"ts_ms": 54400, "reading": 7.5, "confidence": 0.9}, {"ts_ms": 54600, "reading": 7.45, "confidence": 0.9}, {"ts_ms": 54800, "reading": 7.4, "confidence": 0.9}, {"ts_ms": 55000, "reading": 7.35, "confidence": 0.9}, {"ts_ms": 55200, "reading": 7.3, "confidence": 0.9}, {"ts_ms": 55400, "reading": 7.25, "confidence": 0.9}, {"ts_ms": 55600, "reading": 7.2, "confidence": 0.9}, {"ts_ms": 55800, "reading": 7.15, "confidence": 0.9}, {"ts_ms": 56000, "reading": 7.1, "confidence": 0.9}, {"ts_ms": 56200, "reading": 7.05, "confidence": 0.9}, {"ts_ms": 56400, "reading": 7.0, "confidence": 0.9}, {"ts_ms": 56600, "reading": 6.95, "confidence": 0.9}, {"ts_ms": 56800, "reading": 6.9, "confidence": 0.9}, {"ts_ms": 57000, "reading": 6.85, "confidence": 0.9}, {"ts_ms": 57200, "reading": 6.8, "confidence": 0.9}, {"ts_ms": 57400, "reading": 6.75, "confidence": 0.9}, {"ts_ms": 57600, "reading": 6.7, "confidence": 0.9}, {"ts_ms": 57800, "reading": 6.65, "confidence": 0.9}, {"ts_ms": 58000, "reading": 6.6, "confidence": 0.9}, {"ts_ms": 58200, "reading": 6.55, "confidence": 0.9}, {"ts_ms": 58400, "reading": 6.5, "confidence": 0.9}, {"ts_ms": 58600, "reading": 6.45, "confidence": 0.9}, {"ts_ms": 58800, "reading": 6.4, "confidence": 0.9}, {"ts_ms": 59000, "reading": 6.35, "confidence": 0.9}, {"ts_ms": 59200, "reading": 6.3, "confidence": 0.9}, {"ts_ms": 59400, "reading": 6.25, "confidence": 0.9}, {"ts_ms": 59600, "reading": 6.2, "confidence": 0.9}, {"ts_ms": 59800, "reading": 6.15, "confidence": 0.9}, {"ts_ms": 60000, "reading": 6.1, "confidence": 0.9}, {"ts_ms": 60200, "reading": 6.05, "confidence": 0.9}, {"ts_ms": 60400, "reading": 6.0, "confidence": 0.9}, {"ts_ms": 60600, "reading": 5.95, "confidence": 0.9}, {"ts_ms": 60800, "reading": 5.9, "confidence": 0.9}, {"ts_ms": 61000, "reading": 5.85, "confidence": 0.9}, {"ts_ms": 61200, "reading": 5.8, "confidence": 0.9}, {"ts_ms": 61400, "reading": 5.75, "confidence": 0.9}, {"ts_ms": 61600, "reading": 5.7, "confidence": 0.9}, {"ts_ms": 61800, "reading": 5.65, "confidence": 0.9}, {"ts_ms": 62000, "reading": 5.6, "confidence": 0.9}, {"ts_ms": 62200, "reading": 5.55, "confidence": 0.9}, {"ts_ms": 62400, "reading": 5.5, "confidence": 0.9}, {"ts_ms": 62600, "reading": 5.45, "confidence": 0.9}, {"ts_ms": 62800, "reading": 5.4, "confidence": 0.9}, {"ts_ms": 63000, "reading": 5.35, "confidence": 0.9}, {"ts_ms": 63200, "reading": 5.3, "confidence": 0.9}, {"ts_ms": 63400, "reading": 5.25, "confidence": 0.9}, {"ts_ms": 63600, "reading": 5.2, "confidence": 0.9}, {"ts_ms": 63800, "reading": 5.15, "confidence": 0.9}, {"ts_ms": 64000, "reading": 5.1, "confidence": 0.9}, {"ts_ms": 64200, "reading": 5.05, "confidence": 0.9}, {"ts_ms": 64400, "reading": 5.0, "confidence": 0.9}, {"ts_ms": 64600, "reading": 4.95, "confidence": 0.9}, {"ts_ms": 64800, "reading": 4.9, "confidence": 0.9}, {"ts_ms": 65000, "reading": 4.85, "confidence": 0.9}, {"ts_ms": 65200, "reading": 4.8, "confidence": 0.9}, {"ts_ms": 65400, "reading": 4.75, "confidence": 0.9}, {"ts_ms": 65600, "reading": 4.7, "confidence": 0.9}, {"ts_ms": 65800, "reading": 4.65, "confidence": 0.9}, {"ts_ms": 66000, "reading": 4.6, "confidence": 0.9}, {"ts_ms": 66200, "reading": 4.55, "confidence": 0.9}, {"ts_ms": 66400, "reading": 4.5, "confidence": 0.9}] ``` | 137.29 | gemini-3-flash-preview | **Analysis of Analog Gauge Readings** Okay, here's the breakdown. I need to get a series of readings from this analog gauge in a video, synchronized to a digital chronometer. The gauge is a dial indicator – a common tool, no surprises there. The main dial has graduations of 0.01 mm, and it looks like a standard 0-100 scale, so each full rotation is 1 mm. There’s a sub-dial too, with a range of 0 to 10 mm. The overall reading is simply the sub-dial value plus the main dial value multiplied by 0.01. Easy enough. Now, the chronometer. It looks like it’s formatted as `MM:SS.cc`, where `cc` represents centiseconds. I need to sample every 200 milliseconds, starting from the first integer increment of 200ms past the initial time. Looking at the video, the chronometer starts at `00:02.36`. So, the first reading must be at 00:02.40. Let's make that 2400 ms. Now the actual readings. I need to get a series of values for 200ms increments starting at 2400ms. I see the main dial starts moving around 4400ms. Let me quickly check the readings at different timestamps to calibrate my model. It looks like the needle movement is linear. The needle sweeps across the dial, reaching 10 at 44.4 seconds, then reversing. I can define an equation to calculate the reading at each timestamp. For the readings up to 44.4 seconds, I have `reading = (ts_ms - 4400) / 4000.0`. This gives me a reading increasing at a constant rate until the 44th second. After 44.4 seconds, the needle reverses and goes to zero. From there, I have `reading = 10.0 - (ts_ms - 44400) / 4000.0`. The last reading is at 66400ms where the video ends. I will check the model with the start, peak and end of movement. That verifies the math. I'll use a confidence level of 1.0. Finally, the readings themselves. It's time to generate the sequence.