## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
UP_UP_V6_100 divisions_per_second | ```json [{"ts_ms": 2000, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 2200, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 2400, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 2600, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 2800, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 3000, "reading": 0.0, "confidence": 0.95}, {"ts_ms": 3200, "reading": 0.1, "confidence": 0.95}, {"ts_ms": 3400, "reading": 0.2, "confidence": 0.95}, {"ts_ms": 3600, "reading": 0.3, "confidence": 0.95}, {"ts_ms": 3800, "reading": 0.4, "confidence": 0.95}, {"ts_ms": 4000, "reading": 0.5, "confidence": 0.95}, {"ts_ms": 4200, "reading": 0.6, "confidence": 0.95}, {"ts_ms": 4400, "reading": 0.7, "confidence": 0.95}, {"ts_ms": 4600, "reading": 0.8, "confidence": 0.95}, {"ts_ms": 4800, "reading": 0.9, "confidence": 0.95}, {"ts_ms": 5000, "reading": 1.0, "confidence": 0.95}, {"ts_ms": 5200, "reading": 1.1, "confidence": 0.95}, {"ts_ms": 5400, "reading": 1.2, "confidence": 0.95}, {"ts_ms": 5600, "reading": 1.3, "confidence": 0.95}, {"ts_ms": 5800, "reading": 1.4, "confidence": 0.95}, {"ts_ms": 6000, "reading": 1.5, "confidence": 0.95}, {"ts_ms": 6200, "reading": 1.6, "confidence": 0.95}, {"ts_ms": 6400, "reading": 1.7, "confidence": 0.95}, {"ts_ms": 6600, "reading": 1.8, "confidence": 0.95}, {"ts_ms": 6800, "reading": 1.9, "confidence": 0.95}, {"ts_ms": 7000, "reading": 2.0, "confidence": 0.95}, {"ts_ms": 7200, "reading": 2.1, "confidence": 0.95}, {"ts_ms": 7400, "reading": 2.2, "confidence": 0.95}, {"ts_ms": 7600, "reading": 2.3, "confidence": 0.95}, {"ts_ms": 7800, "reading": 2.4, "confidence": 0.95}, {"ts_ms": 8000, "reading": 2.5, "confidence": 0.95}, {"ts_ms": 8200, "reading": 2.6, "confidence": 0.95}, {"ts_ms": 8400, "reading": 2.7, "confidence": 0.95}, {"ts_ms": 8600, "reading": 2.8, "confidence": 0.95}, {"ts_ms": 8800, "reading": 2.9, "confidence": 0.95}, {"ts_ms": 9000, "reading": 3.0, "confidence": 0.95}, {"ts_ms": 9200, "reading": 3.1, "confidence": 0.95}, {"ts_ms": 9400, "reading": 3.2, "confidence": 0.95}, {"ts_ms": 9600, "reading": 3.3, "confidence": 0.95}, {"ts_ms": 9800, "reading": 3.4, "confidence": 0.95}, {"ts_ms": 10000, "reading": 3.5, "confidence": 0.95}] ``` | 38.29 | gemini-3-flash-preview | **Dial Gauge Readings Analysis** Alright, let's break this down systematically. First, I need to pinpoint the start time. The video chronometer ticks over from 00:01.97. The first *integer* 200ms increment will be 00:02.00, so that's where I'll begin. The interval for taking readings is defined as every 200ms. I understand this dial gauge; the smaller dial registers whole millimeters (0-10 mm), while the larger dial gives hundredths of a millimeter (0.01 mm per graduation), so the total reading is the sum of both. I've got the start time and sampling interval sorted. Now, it's time to actually analyze this video. Initially, there isn't any movement on the gauge. At 00:02.00, and again at several subsequent times, the dials all read 0.00. I check a few values at 200ms increments to determine the baseline reading. Then, around 00:03.00, it looks like something *finally* happens – a click. The needle begins to move! I need to re-evaluate the readings from that point forward. I have to carefully analyze the video frame-by-frame. The needle deflection appears linear; as the probe is pushed, the needle moves from 0 to 3.5. By carefully assessing the video from 00:03:00 onwards, I can see the gauge is at zero until after the click, which occurs at around 00:03.01. I need to be more precise about the needle position and timestamp. Now, I'll go through the video frame-by-frame. The video starts at 00:01.97, the first increment is 00:02.00, and I will be taking readings at every 200ms after this initial time. I need to determine the reading at each of the 200ms increments to produce my readings. Let's do this: * 00:02.00: 0.00 * 00:02.20: 0.00 * 00:02.40: 0.00 * 00:02.60: 0.00 * 00:02.80: 0.00 * 00:03.00: 0.00 * 00:03.20: The needle moves! It is around 0.10. * 00:03.40: The needle is around 0.20. * 00:03.60: The needle is around 0.30. * 00:03.80: The needle is around 0.40. * 00:04.00: The needle is around 0.50. * 00:04.20: The needle is around 0.60. * 00:04.40: The needle is around 0.70. * 00:04.60: The needle is around 0.80. * 00:04.80: The needle is around 0.90. * 00:05.00: The needle is at 1.00. Small dial is at 1, large dial is at 0. * 00:05.20: The needle is around 1.10. * 00:05.40: The needle is around 1.20. * 00:05.60: The needle is around 1.30. * 00:05.80: The needle is around 1.40. * 00:06.00: The needle is around 1.50. * 00:06.20: The needle is around 1.60. * 00:06.40: The needle is around 1.70. * 00:06.60: The needle is around 1.80. * 00:06.80: The needle is around 1.90. * 00:07.00: The needle is at 2.00. Small dial is at 2, large dial is