## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
CLOSING_CLOSING_V5_50 divisions_per_second | ```json [ {"ts_ms": 2400, "reading": 25.0, "confidence": 1.0}, {"ts_ms": 2600, "reading": 25.0, "confidence": 1.0}, {"ts_ms": 2800, "reading": 25.0, "confidence": 1.0}, {"ts_ms": 3000, "reading": 25.0, "confidence": 1.0}, {"ts_ms": 3200, "reading": 25.0, "confidence": 1.0}, {"ts_ms": 3400, "reading": 25.0, "confidence": 1.0}, {"ts_ms": 3600, "reading": 25.0, "confidence": 1.0}, {"ts_ms": 3800, "reading": 25.0, "confidence": 1.0}, {"ts_ms": 4000, "reading": 25.0, "confidence": 1.0}, {"ts_ms": 4200, "reading": 25.0, "confidence": 1.0}, {"ts_ms": 4400, "reading": 30.0, "confidence": 1.0}, {"ts_ms": 4600, "reading": 30.0, "confidence": 1.0}, {"ts_ms": 4800, "reading": 30.0, "confidence": 1.0}, {"ts_ms": 5000, "reading": 30.0, "confidence": 1.0}, {"ts_ms": 5200, "reading": 30.0, "confidence": 1.0}, {"ts_ms": 5400, "reading": 35.0, "confidence": 1.0}, {"ts_ms": 5600, "reading": 35.0, "confidence": 1.0}, {"ts_ms": 5800, "reading": 35.0, "confidence": 1.0}, {"ts_ms": 6000, "reading": 35.0, "confidence": 1.0}, {"ts_ms": 6200, "reading": 35.0, "confidence": 1.0}, {"ts_ms": 6400, "reading": 40.0, "confidence": 1.0}, {"ts_ms": 6600, "reading": 40.0, "confidence": 1.0}, {"ts_ms": 6800, "reading": 40.0, "confidence": 1.0}, {"ts_ms": 7000, "reading": 40.0, "confidence": 1.0}, {"ts_ms": 7200, "reading": 40.0, "confidence": 1.0}, {"ts_ms": 7400, "reading": 45.0, "confidence": 1.0}, {"ts_ms": 7600, "reading": 45.0, "confidence": 1.0}, {"ts_ms": 7800, "reading": 45.0, "confidence": 1.0}, {"ts_ms": 8000, "reading": 45.0, "confidence": 1.0}, {"ts_ms": 8200, "reading": 45.0, "confidence": 1.0}, {"ts_ms": 8400, "reading": 50.0, "confidence": 1.0} ] ``` | 49.66 | gemini-3-flash-preview | **Calibrated Time-Series Analysis of Vernier Caliper Readings** Okay, here's the breakdown. I need to generate a time-series of measurements from the video, specifically from a vernier caliper. The prompt says I need to take readings every 200ms based on the digital chronometer in the video. The chronometer starts at 00:02.30, which is 2300ms. I have to find the "first 200ms integer increment". Now, 2400ms is a 200ms integer increment. Let's start with a thorough inspection of what’s happening in the footage. I’m looking at the vernier caliper itself. The main scale looks to be in millimeters, and the vernier scale's resolution looks to be 0.05 mm. At the initial time (00:02.30), the zero of the vernier scale aligns perfectly with the 25 mm mark on the main scale. So the first reading is 25.00 mm. Now, let's track the caliper movement. The caliper starts moving around 00:04.33, right? Before this, it’s stationary at 25.00 mm. Then it moves in quick steps and stops at different points. At 00:05.34, it’s at a new position, so I need to get the next reading. The zero of the vernier scale is *exactly* at 30.00 mm. At 00:06.35, the reading shows the zero mark aligns at 35.00 mm. At 00:07.34, it’s at 40.00 mm. And at 00:08.34, it's at 45.00 mm. So, let's verify these readings again. The sequence I'm getting is very stable: * 00:02.30 to 00:04.33: 25.00 mm * 00:05.34: 30.00 mm * 00:06.35: 35.00 mm * 00:07.34: 40.00 mm * 00:08.34: 45.00 mm It seems like there are discrete 5 mm steps every one second. These jumps look like they're happening very quickly. Now, starting at 2400ms, I have: 2400: 25.00 2600: 25.00 2800: 25.00 3000: 25.00 3200: 25.00 3400: 25.00 3600: 25.00 3800: 25.00 4000: 25.00 4200: 25.00 At around 4400, it's jumped to 30 mm. So, 4400: 30.00 4600: 30.00 4800: 30.00 5000: 30.00 5200: 30.00 5400 is stable at 35.00. 5400: 35.00 5600: 35.00 5800: 35.00 6000: 35.00 6200: 35.00 At 6400, it's jumped to 40.00 6400: 40.00 6600: 40.00 6800: 40.00 7000: 40.00 7200: 40.00 At 7400, it's 45.00 7400: 45.00 7600: 45.00 7800: 45.00 8000: 45.00 8200: 45.00 Now, at 8400, it reads 50.