## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
CLOSING_CLOSING_V2_10 divisions_per_second | ```json [ {"ts_ms": 2400, "reading": 27.5, "confidence": 1.0}, {"ts_ms": 2600, "reading": 27.5, "confidence": 1.0}, {"ts_ms": 2800, "reading": 27.5, "confidence": 1.0}, {"ts_ms": 3000, "reading": 27.5, "confidence": 1.0}, {"ts_ms": 3200, "reading": 27.5, "confidence": 1.0}, {"ts_ms": 3400, "reading": 27.5, "confidence": 1.0}, {"ts_ms": 3600, "reading": 27.5, "confidence": 1.0}, {"ts_ms": 3800, "reading": 27.5, "confidence": 1.0}, {"ts_ms": 4000, "reading": 27.5, "confidence": 1.0}, {"ts_ms": 4200, "reading": 27.5, "confidence": 1.0}, {"ts_ms": 4400, "reading": 27.5, "confidence": 1.0}, {"ts_ms": 4600, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 4800, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 5000, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 5200, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 5400, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 5600, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 5800, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 6000, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 6200, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 6400, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 6600, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 6800, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 7000, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 7200, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 7400, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 7600, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 7800, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 8000, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 8200, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 8400, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 8600, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 8800, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 9000, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 9200, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 9400, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 9600, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 9800, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 10000, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 10200, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 10400, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 10600, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 10800, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 11000, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 11200, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 11400, "reading": 31.5, "confidence": 1.0}, {"ts_ms": 11600, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 11800, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 12000, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 12200, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 12400, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 12600, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 12800, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 13000, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 13200, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 13400, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 13600, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 13800, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 14000, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 14200, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 14400, "reading": 35.5, "confidence": 1.0}, {"ts_ms": 14600, "reading": 37.5, "confidence": 1.0}, {"ts_ms": 14800, "reading": 37.5, "confidence": 1.0}, {"ts_ms": 15000, "reading": 37.5, "confidence": 1.0}, {"ts_ms": 15200, "reading": 37.5, "confidence": 1.0}, {"ts_ms": 15400, "reading": 37.5, "confidence": 1.0} ] ``` | 72.41 | gemini-3-flash-preview | **Vernier Caliper Readings - Analysis and Determination** Okay, so the task is to extract a series of readings from a video showing a Vernier caliper, specifically every 200 milliseconds, based on the on-screen chronometer. This should be straightforward. I need to be careful with the video's presentation, as it's a bit blurry and might be a slideshow, not a continuous stream. The chronometer begins at 00:02.38 (MM:SS.CC format). I need to determine the measurements at specific time intervals as indicated by the chronometer. First, I will look closely at what the resolution of this caliper is. It appears the caliper's main scale is in millimeters, and I can see the Vernier scale's graduation, I need to make sure to read the zero from the Vernier scale. I recall the Vernier scale has 20 divisions for every 1 millimeter on the main scale, I can easily calculate the resolution: 1mm / 20 divisions = 0.05 mm. Now, I need to observe the movement of the caliper to take the readings as requested. The first reading is going to be 00:02.38, in other words, 2380ms. The first "200ms integer increment" after the start time (2380ms) should be 2400ms or 00:02.40. I will start by carefully examining the initial position of the caliper. The zero mark of the Vernier appears to be between 27 and 28 mm, but the precise alignment of the Vernier scale is key. The video shows the zero of the Vernier is precisely on the 27.5 mark, so the first reading is 27.50 mm. Now, I look at the motion of the Vernier scale zero mark. As time progresses, the caliper moves. At around 00:04.41, the Vernier zero is now at 31.5 mm, and at 00:11.41, it moves again to 35.5 mm. And finally, at 00:14.41 it changes to 37.5. Now, let's take these and build it up systematically by incrementing in 200 ms: * 00:02.40 (2400ms): 27.50 mm * 00:02.60 (2600ms): 27.50 mm * 00:02.80 (2800ms): 27.50 mm * 00:03.00 (3000ms): 27.50 mm * 00:03.20 (3200ms): 27.50 mm * 00:03.40 (3400ms): 27.50 mm * 00:03.60 (3600ms): 27.50 mm * 00:03.80 (3800ms): 27.50 mm * 00:04.00 (4000ms): 27.50 mm * 00:04.20 (4200ms): 27.50 mm * 00:04.40 (4400ms): 27.50 mm * 00:04.60 (4600ms): 31.50 mm * ... (Continuing these 200ms steps, there is no change in reading within the same measurement) * 00:11.40 (11400ms): 31.50 mm * 00:11.60 (11600ms): 35.50 mm * ... * 00:14.40 (14400ms): 35.50 mm * 00:14.60 (14600ms): 37.50 mm * ... * 00:15.40 (15400ms): 37.50 mm I am double checking the reading intervals carefully since it looks like the video is a slideshow of several still frames for a few tenths of a second at each timestamp. And I need to use the value present within the timestamp, as the new measurement is given in the next frame