## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
OPENING-CLOSING_OPENING-CLOSING_V4_33 divisions_per_second | ```json [ {"ts_ms": 2600, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 2800, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 3000, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 3200, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 3400, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 3600, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 3800, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 4000, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 4200, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 4400, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 4600, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 4800, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 5000, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 5200, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 5400, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 5600, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 5800, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 6000, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 6200, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 6400, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 6600, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 6800, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 7000, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 7200, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 7400, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 7600, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 7800, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 8000, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 8200, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 8400, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 8600, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 8800, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 9000, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 9200, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 9400, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 9600, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 9800, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 10000, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 10200, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 10400, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 10600, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 10800, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 11000, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 11200, "reading": 14.0, "confidence": 0.95}, {"ts_ms": 11400, "reading": 14.0, "confidence": 0.95} ] ``` | 55.46 | gemini-3-flash-preview | **Final Thoughts on Caliper Reading** Alright, let's break this down one last time. The user wants me to extract readings from a Vernier caliper at 200ms intervals, starting from the first integer increment on the stopwatch displayed in the video. I’ve identified the caliper with its 0.05 mm graduation and the digital stopwatch on the smartwatch. The stopwatch is the key to this, and after reviewing, it clearly updates in a non-continuous manner, which is potentially an issue. Initially, I had a little trouble getting my head around the timing and the fact that it wasn't continuous. The video starts at 00:02.51, and the first full 200ms increment is at 00:02.60, or 2600ms, as you'd convert it into milliseconds. I've noted that the video ends roughly at 00:11.54, which converts to 11400ms. Now, the main concern here is the caliper reading. The main scale is in centimeters, but the units are specified in mm. So, I see that the zero of the vernier scale is on the 14mm mark. I can see that the zero mark is perfectly aligned with the 14mm mark on the main scale. Let's make sure I am on the correct side of the caliper. The 0, 1, 2, 3, 4, etc. markings are at the bottom. Given the 0 mark lines up, the instrument reads 14.00mm. I've checked a few times, and the vernier scale with the 0 division lines up perfectly with the 14 mark. This confirms a reading of 14.00 mm. The stopwatch jumps, but the caliper is constant throughout the video. Considering the user's intent to sample at 200ms increments, even though the stopwatch is not continuous, I will construct a series of timestamps from 2600ms up to 11400ms, at 200ms intervals. Because the caliper doesn't seem to move during the video, the reading is 14.00 mm for each timestamp in the generated list. Let's make sure I use 14.00 and not just 14.0. The graduation interval is 0.05, so the precision should be two places. Let's make sure this is the case. I have re-examined the video, confirmed this, and also made sure I am on the correct side of the caliper, and that the unit of measurement is correct. The final conclusion is that the measurement is 14.00 mm, and the 200ms measurements are as follows: Timestamps: 2600, 2800, 3000, 3200, 3400, 3600, 3800, 4000, 4200, 4400, 4600, 4800, 5000, 5200, 5400, 5600, 5800, 6000, 6200, 6400, 6600, 6800, 7000, 7200, 7400, 7600, 7800, 8000, 8200, 8400, 8600, 8800, 9000, 9200, 9400, 9600, 9800, 10000, 10200, 10400, 10600, 10800, 11000, 11200, 11400.