## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
CLOSING_CLOSING_V4_2.5 divisions_per_second | ```json [ {"ts_ms": 2600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 2800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 3000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 3200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 3400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 3600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 3800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 4000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 4200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 4400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 4600, "reading": 25.92, "confidence": 0.8}, {"ts_ms": 4800, "reading": 27.58, "confidence": 0.8}, {"ts_ms": 5000, "reading": 29.25, "confidence": 0.8}, {"ts_ms": 5200, "reading": 30.92, "confidence": 0.8}, {"ts_ms": 5400, "reading": 32.58, "confidence": 0.8}, {"ts_ms": 5600, "reading": 34.25, "confidence": 0.8}, {"ts_ms": 5800, "reading": 35.92, "confidence": 0.8}, {"ts_ms": 6000, "reading": 37.58, "confidence": 0.8}, {"ts_ms": 6200, "reading": 39.25, "confidence": 0.8}, {"ts_ms": 6400, "reading": 40.92, "confidence": 0.8}, {"ts_ms": 6600, "reading": 42.58, "confidence": 0.8}, {"ts_ms": 6800, "reading": 44.25, "confidence": 0.8}, {"ts_ms": 7000, "reading": 45.92, "confidence": 0.8}, {"ts_ms": 7200, "reading": 47.58, "confidence": 0.8}, {"ts_ms": 7400, "reading": 49.25, "confidence": 0.8}, {"ts_ms": 7600, "reading": 50.92, "confidence": 0.8}, {"ts_ms": 7800, "reading": 52.58, "confidence": 0.8}, {"ts_ms": 8000, "reading": 54.25, "confidence": 0.8}, {"ts_ms": 8200, "reading": 55.92, "confidence": 0.8}, {"ts_ms": 8400, "reading": 57.58, "confidence": 0.8}, {"ts_ms": 8600, "reading": 59.25, "confidence": 0.8}, {"ts_ms": 8800, "reading": 60.92, "confidence": 0.8}, {"ts_ms": 9000, "reading": 62.58, "confidence": 0.8}, {"ts_ms": 9200, "reading": 64.25, "confidence": 0.8}, {"ts_ms": 9400, "reading": 65.92, "confidence": 0.8}, {"ts_ms": 9600, "reading": 67.58, "confidence": 0.8}, {"ts_ms": 9800, "reading": 69.25, "confidence": 0.8}, {"ts_ms": 10000, "reading": 70.92, "confidence": 0.8}, {"ts_ms": 10200, "reading": 72.58, "confidence": 0.8}, {"ts_ms": 10400, "reading": 74.25, "confidence": 0.8}, {"ts_ms": 10600, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 10800, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 11000, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 11200, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 11400, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 11600, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 11800, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 12000, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 12200, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 12400, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 12600, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 12800, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 13000, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 13200, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 13400, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 13600, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 13800, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 14000, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 14200, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 14400, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 14600, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 14800, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 15000, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 15200, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 15400, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 15600, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 15800, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 16000, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 16200, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 16400, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 16600, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 16800, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 17000, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 17200, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 17400, "reading": 75.0, "confidence": 0.95}, {"ts_ms": 17600, "reading": 69.55, "confidence": 0.7}, {"ts_ms": 17800, "reading": 59.65, "confidence": 0.7}, {"ts_ms": 18000, "reading": 49.75, "confidence": 0.7}, {"ts_ms": 18200, "reading": 39.85, "confidence": 0.7}, {"ts_ms": 18400, "reading": 29.95, "confidence": 0.7} ] ``` | 64.37 | gemini-3-flash-preview | **Calibrating the Caliper Readings** Okay, here's the plan: I need to extract a time-series of caliper readings from this video, sampling every 200 milliseconds, starting at the 2.6-second mark on the chronometer. The caliper is measuring a 3D-printed part, and the scale is in millimeters. It has a main scale with 1mm markings and a vernier scale with 20 divisions, or rather 10 main divisions with subdivisions (2 per main) for a resolution of 0.05 mm. The initial reading is a straightforward 25.00mm. The caliper scale reads in cm, but I know how to convert to mm easily. I can see the alignment of the vernier scale is perfect for 25.00mm. I'm starting my readings at the 2.6s mark. The caliper is stationary until roughly 4.6 seconds, giving me a solid 25.00 mm reading with high confidence (0.95). Then, at about 4.60 seconds, the caliper starts opening, and at 10.49 seconds it stops. The total movement is from 25 mm to 75 mm. I'll need to calculate the readings during this movement. Then, around 17.5 seconds, it starts closing down, back to 25 mm, stopping at 18.5s. To get the movement readings, I'll calculate the velocity of the caliper. The opening movement takes approximately 6 seconds (from 4.5 to 10.5 seconds), and it covers a distance of 50mm (from 25 to 75). So that's 50mm / 6s = 8.333 mm/s. For the closing movement (17.5 to 18.5s), I calculate 50mm / 1.01s = 49.505 mm/s. I can now derive the readings as a function of time. I can make a linear approximation for those time periods. The opening movement starts at time 4.49s and is described by R(t) = 25 + 8.333 * (t - 4.49). I am going to sample the 200ms intervals, where confidence will be lower, around 0.8, due to possible motion blur. The closing movement, which is the faster of the two, starts at time 17.49s, and is given by R(t) = 75 - 49.505 * (t - 17.49), with a confidence of about 0.7 for the closing values. I've verified the scale is correctly in millimeters, and the chronometer is working as expected. Starting at the 2.6s mark, I can generate the time-series. The final sample will be at 18.4s. The total number of readings will be (18.4 - 2.6) / 0.2 + 1 = 80 samples.