## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
CLOSING_CLOSING_V1_0.5 divisions_per_second | ```json [{"ts_ms": 2400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 2600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 2800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 3000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 3200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 3400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 3600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 3800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 4000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 4200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 4400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 4600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 4800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 5000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 5200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 5400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 5600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 5800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 6000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 6200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 6400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 6600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 6800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 7000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 7200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 7400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 7600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 7800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 8000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 8200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 8400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 8600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 8800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 9000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 9200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 9400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 9600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 9800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 10000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 10200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 10400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 10600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 10800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 11000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 11200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 11400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 11600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 11800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 12000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 12200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 12400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 12600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 12800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 13000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 13200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 13400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 13600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 13800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 14000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 14200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 14400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 14600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 14800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 15000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 15200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 15400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 15600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 15800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 16000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 16200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 16400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 16600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 16800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 17000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 17200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 17400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 17600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 17800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 18000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 18200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 18400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 18600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 18800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 19000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 19200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 19400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 19600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 19800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 20000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 20200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 20400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 20600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 20800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 21000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 21200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 21400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 21600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 21800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 22000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 22200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 22400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 22600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 22800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 23000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 23200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 23400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 23600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 23800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 24000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 24200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 24400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 24600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 24800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 25000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 25200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 25400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 25600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 25800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 26000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 26200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 26400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 26600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 26800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 27000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 27200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 27400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 27600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 27800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 28000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 28200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 28400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 28600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 28800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 29000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 29200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 29400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 29600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 29800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 30000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 30200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 30400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 30600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 30800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 31000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 31200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 31400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 31600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 31800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 32000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 32200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 32400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 32600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 32800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 33000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 33200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 33400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 33600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 33800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 34000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 34200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 34400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 34600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 34800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 35000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 35200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 35400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 35600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 35800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 36000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 36200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 36400, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 36600, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 36800, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 37000, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 37200, "reading": 25.0, "confidence": 0.95}, {"ts_ms": 37400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 37600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 37800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 38000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 38200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 38400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 38600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 38800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 39000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 39200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 39400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 39600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 39800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 40000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 40200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 40400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 40600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 40800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 41000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 41200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 41400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 41600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 41800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 42000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 42200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 42400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 42600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 42800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 43000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 43200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 43400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 43600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 43800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 44000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 44200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 44400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 44600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 44800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 45000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 45200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 45400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 45600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 45800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 46000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 46200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 46400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 46600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 46800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 47000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 47200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 47400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 47600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 47800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 48000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 48200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 48400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 48600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 48800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 49000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 49200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 49400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 49600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 49800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 50000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 50200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 50400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 50600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 50800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 51000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 51200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 51400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 51600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 51800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 52000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 52200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 52400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 52600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 52800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 53000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 53200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 53400, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 53600, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 53800, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 54000, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 54200, "reading": 25.44, "confidence": 0.95}, {"ts_ms": 54400, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 54600, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 54800, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 55000, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 55200, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 55400, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 55600, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 55800, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 56000, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 56200, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 56400, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 56600, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 56800, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 57000, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 57200, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 57400, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 57600, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 57800, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 58000, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 58200, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 58400, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 58600, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 58800, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 59000, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 59200, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 59400, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 59600, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 59800, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 60000, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 60200, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 60400, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 60600, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 60800, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 61000, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 61200, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 61400, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 61600, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 61800, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 62000, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 62200, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 62400, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 62600, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 62800, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 63000, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 63200, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 63400, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 63600, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 63800, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 64000, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 64200, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 64400, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 64600, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 64800, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 65000, "reading": 25.88, "confidence": 0.95}, {"ts_ms": 65200, "reading": 25.88, "confidence": 0.95}] ``` | 110.62 | gemini-3-flash-preview | **Calibrated Caliper Readings** Okay, so I need to provide a series of readings from this caliper shown in the video, and I need to do it at 200ms intervals. The chronometer in the video is showing the time, and it looks like it's in a MM:SS.CC format, where CC are centiseconds. I need to start taking the readings from the first 200ms integer increment. Let's see... the video starts at 00:02.30, which is 2300ms. So, the first 200ms increment is 2400ms (00:02.40). The caliper seems to be a standard analog one, measuring in millimeters. The main scale is in millimeters, and there's a vernier scale. It looks like the graduation interval on the vernier scale is 0.02 mm (50 divisions across the 49mm main scale length), and the range of the caliper is 0 to 200 mm. So, I start by watching the video to figure out the readings. The chronometer starts at 00:02.30, and the reading at the beginning is stable at 25.00 mm. I can see it. It's perfectly aligned. I continue with readings every 200ms, and then, at around 00:37.34, I see a sudden change. The reading jumps to 25.44. Again, it is clearly discernible in the video; the vernier mark is aligned. I'm going to take readings every 200ms, so I need to calculate the timestamps and the readings. I will list them. At about 00:54.33, another change. It jumps to 25.88. I'll continue to record until the video ends at 01:05.33. Let me list the time stamps where I need to take readings. The first is at 00:02.40 (2400ms). Now, I will make a complete list of all the reading times and the readings: * 2400ms to 37200ms: 25.0 mm. * 37400ms to 54200ms: 25.44 mm. * 54400ms to 65200ms: 25.88 mm. The jumps are pretty obvious, and the readings are very stable between those points. The reading at each 200ms increment will be one of these three values. Let's see: 25.00, 25.44, 25.88.