## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
CLOSING_CLOSING_V3_1.7 divisions_per_second | ```json [ {"ts_ms": 2600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 2800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 3000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 3200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 3400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 3600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 3800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 4000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 4200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 4400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 4600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 4800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 5000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 5200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 5400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 5600, "reading": 35.0, "confidence": 0.5}, {"ts_ms": 5800, "reading": 65.0, "confidence": 0.5}, {"ts_ms": 6000, "reading": 95.0, "confidence": 0.5}, {"ts_ms": 6200, "reading": 120.0, "confidence": 0.5}, {"ts_ms": 6400, "reading": 135.0, "confidence": 0.5}, {"ts_ms": 6600, "reading": 145.0, "confidence": 0.5}, {"ts_ms": 6800, "reading": 148.0, "confidence": 0.5}, {"ts_ms": 7000, "reading": 150.0, "confidence": 0.7}, {"ts_ms": 7200, "reading": 150.0, "confidence": 0.8}, {"ts_ms": 7400, "reading": 150.0, "confidence": 0.9}, {"ts_ms": 7600, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 7800, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 8000, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 8200, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 8400, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 8600, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 8800, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 9000, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 9200, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 9400, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 9600, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 9800, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 10000, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 10200, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 10400, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 10600, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 10800, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 11000, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 11200, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 11400, "reading": 150.0, "confidence": 1.0}, {"ts_ms": 11600, "reading": 140.0, "confidence": 0.5}, {"ts_ms": 11800, "reading": 110.0, "confidence": 0.5}, {"ts_ms": 12000, "reading": 80.0, "confidence": 0.5}, {"ts_ms": 12200, "reading": 50.0, "confidence": 0.5}, {"ts_ms": 12400, "reading": 30.0, "confidence": 0.5}, {"ts_ms": 12600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 12800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 13000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 13200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 13400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 13600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 13800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 14000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 14200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 14400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 14600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 14800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 15000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 15200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 15400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 15600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 15800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 16000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 16200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 16400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 16600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 16800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 17000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 17200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 17400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 17600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 17800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 18000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 18200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 18400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 18600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 18800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 19000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 19200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 19400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 19600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 19800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 20000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 20200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 20400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 20600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 20800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 21000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 21200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 21400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 21600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 21800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 22000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 22200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 22400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 22600, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 22800, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 23000, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 23200, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 23400, "reading": 25.4, "confidence": 1.0}, {"ts_ms": 23600, "reading": 45.0, "confidence": 0.5}, {"ts_ms": 23800, "reading": 75.0, "confidence": 0.5}, {"ts_ms": 24000, "reading": 95.0, "confidence": 0.5}, {"ts_ms": 24200, "reading": 105.0, "confidence": 0.5}, {"ts_ms": 24400, "reading": 110.0, "confidence": 0.5} ] ``` | 50.19 | gemini-3-flash-preview | **Analysis of Analog Caliper Video Data** Alright, let's break this down. The request is to read values from an analog caliper presented in a video, at 200ms intervals starting from 2.60s. I need to treat this like a measurement task. First, I identify the instrument: a vernier caliper. The primary scale is in centimeters (cm), which is easy to convert to millimeters (mm), and the vernier scale allows for precise readings to the hundredth of a millimeter. The video uses a digital chronometer on a smartwatch to track the time intervals. My initial approach is to locate the start time and then take readings every 200 milliseconds. The video starts at 2.46s, so the first reading will be at 2.60s. I then start reading the caliper. Looking closely at the video, I can see the instrument measuring a 3D-printed part. From 2.60s to roughly 5.40s, the caliper is closed on the part. The main scale is at 25mm, and I can clearly see the '4' on the vernier scale aligns perfectly. Thus, the reading is a stable 25.40 mm during this initial interval. At 5.48s, the caliper is moved and opened. For the period of movement, until around 7.50s, the readings become difficult; I'm forced to make estimates while the caliper is moving. It's difficult to be precise. The readings during the opening are approximate: moving from an initial 25.40mm to, after a short period, reaching a maximum reading of approximately 150mm. I'll need to assign lower confidence to these values. At around 7.50s until 11.49s, the caliper seems to be fully open, and the reading is stable at 150.00mm. The precision of the 150mm readings is high because the zero mark on the vernier aligns with the 150mm mark on the main scale. From around 11.49s to 12.49s, the caliper is closed again. I'm focusing in the video on the vernier's zero line and making sure the calipers are correctly placed. Around the 12.60s mark, it becomes stable again on the part; thus, the reading returns to 25.40 mm. The same sequence repeats from 23.48s until the video ends. The caliper is moved, and I read as best as possible. During this period, I observe an analogous sequence of the caliper. From 23.60s, a similar trend as the opening period starts, and finally ends around 24.40s, which is the end of the video. During the period of motion and opening, the observations are approximations. In summary, I'm taking the readings every 200 milliseconds, with high confidence in the stable values (25.40 mm and 150.00 mm), and lower confidence in the readings while the caliper is in motion, or in transition. The prompt asks me to interpret the analog gauge, but it's important to report these readings, even if they're approximate during movement. I've rechecked all the observations and refined the readings to the best of my ability. I will need to construct a dataset reflecting these measurements at the specified time intervals.