## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
OPENING-CLOSING_OPENING-CLOSING_V3_1.7 divisions_per_second | ```json [ {"ts_ms": 2600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 2800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 3000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 3200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 3400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 3600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 3800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 4000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 4200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 4400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 4600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 4800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 5000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 5200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 5400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 5600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 5800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 6000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 6200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 6400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 6600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 6800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 7000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 7200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 7400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 7600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 7800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 8000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 8200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 8400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 8600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 8800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 9000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 9200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 9400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 9600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 9800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 10000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 10200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 10400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 10600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 10800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 11000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 11200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 11400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 11600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 11800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 12000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 12200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 12400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 12600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 12800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 13000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 13200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 13400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 13600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 13800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 14000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 14200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 14400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 14600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 14800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 15000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 15200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 15400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 15600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 15800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 16000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 16200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 16400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 16600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 16800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 17000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 17200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 17400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 17600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 17800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 18000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 18200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 18400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 18600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 18800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 19000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 19200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 19400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 19600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 19800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 20000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 20200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 20400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 20600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 20800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 21000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 21200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 21400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 21600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 21800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 22000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 22200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 22400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 22600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 22800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 23000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 23200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 23400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 23600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 23800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 24000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 24200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 24400, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 24600, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 24800, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 25000, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 25200, "reading": 28.4, "confidence": 0.9}, {"ts_ms": 25400, "reading": 28.4, "confidence": 0.9} ] ``` | 64.99 | gemini-3-flash-preview | **Caliper Reading Analysis and Data Extraction** Okay, here's the breakdown of how I'm going to approach this. My goal is to get a JSON array of caliper readings from the video. First things first, I need to understand the instrument and its scale. Looks like it's a caliper, measuring in millimeters (mm). The main scale has 1mm increments, and the vernier scale is set up with 0.05 mm increments - 20 divisions covering 1 mm. The reading is going to be: the main scale reading before the vernier's zero, plus the aligned vernier division times 0.05 mm. Now, the crucial part: timing. The video timer starts at 00:02.48. The "first 200ms integer increment" part needs some careful interpretation. I initially thought it meant 00:02.60, but after re-reading the prompt and looking at the examples (5800, 6000, 6200), I am going to assume it means that absolute time will be in ms from the start of the chronometer. I am going to have to list them. I have to carefully read the caliper at each of the 200ms intervals, starting from 2600ms, and then in increments of 200 until the end of the video. The caliper is measuring a grey object. Now, let's nail down the reading. The zero on the vernier is between 28 and 29 mm. I need to zoom in on the vernier scale. It has 10 main divisions, with 2 subdivisions. It's a 0.05 mm resolution caliper. So I am expecting the reading to be something like 28.XX mm. Let me look at the image again, particularly when the chronometer shows 00:02.48. The zero is past the 28. I see that the '4' line on the vernier almost perfectly aligns with a mark on the main scale. It's close, but it looks like 28.40 mm. I can see that the '4' line is the best alignment when observing the video frame at the timestamps 00:02.48, 00:05.50, 00:10.50, 00:15.49, 00:20.50, and 00:25.50. So it appears that the reading is constant and close to 28.40 mm. Now I am confident that the reading is constant throughout the video at 28.40. I'm going to make the JSON array now. I am starting at 2600ms. The video's timestamp shows the end at 25.50, so that means the readings end at 25400 ms. The time interval is 200 ms. The reading is 28.4 mm, which I am comfortable with. Since the reading is clear, I can have a high confidence: 0.9. I need to double check the reading. The main scale is 28. The zero of the vernier is clearly past 28. Now, I am sure the vernier reading shows alignment with the '4' line. So I can confirm the reading as 28.40 mm. I need to confirm the alignment of the marks. Let me look again. Main scale is 20, 25, 26, 27, 28. The zero of the vernier is after 28. Vernier scale - 0, 1, 2, 3, 4, 5, 6, 7, 8, 9, 0. The line '4' on the vernier aligns with the 32mm mark on the main scale. It is 28 + 0.40 = 28.40 mm. Let's double check. Final Check: the chronometer shows 00:02.48. Is it 2 minutes and 48 seconds? No, the current time in the corner reads "09:15." Clearly the stopwatch is in the format of mm:ss.cc, so 2.48 seconds. Multiples of 200ms increments start at 2600ms. The video ends at 00:25.50, so the last reading is 25400ms. I am re-reading the caliper: The main scale is 28. The vernier is reading 0,