## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
OPENING-CLOSING_OPENING-CLOSING_V5_5 divisions_per_second | ```json [ {"ts_ms": 2400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 2600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 2800, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 3000, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 3200, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 3400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 3600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 3800, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 4000, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 4200, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 4400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 4600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 4800, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 5000, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 5200, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 5400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 5600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 5800, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 6000, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 6200, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 6400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 6600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 6800, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 7000, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 7200, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 7400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 7600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 7800, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 8000, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 8200, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 8400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 8600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 8800, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 9000, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 9200, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 9400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 9600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 9800, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 10000, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 10200, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 10400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 10600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 10800, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 11000, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 11200, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 11400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 11600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 11800, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 12000, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 12200, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 12400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 12600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 12800, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 13000, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 13200, "reading": 24.0, "confidence": 1.0} ] ``` | 61.21 | gemini-3-pro-preview | **Calibrating the Caliper and Synchronizing with the Chronometer** Alright, let's break this down systematically. The objective is to extract synchronized readings from the caliper, linking them to the video's chronometer. The chronometer is running and formatted in MM:SS.ms, starting at approximately 00:02.30. Therefore, the first 200ms increment is at 00:02.40 (or 2400ms). I need to meticulously examine the video frames to capture the timestamp data. The chronometer appears to be working correctly with consistent jumps in 200ms increments. The caliper in the video is a vernier caliper. The primary scale utilizes both cm (bottom) and inches (top). Since the target unit is mm, I will focus on the bottom scale. Each cm is equivalent to 10mm. The vernier scale has 20 divisions, implying a resolution of 0.05 mm (1/20). Now, let's focus on obtaining an accurate reading. From inspecting the video, the caliper's zero is located on the 24mm mark. A closer inspection reveals the zero of the vernier scale is perfectly aligned with the 24mm mark. This must be verified. Let's trace the alignment of the vernier with the main scale. The 0, 10, 20 divisions of the vernier scale can be assessed to establish the calibration's accuracy. On inspection, the 0 mark is aligned with 24.0. The 10 mark on the vernier aligns precisely with the 63mm mark on the main scale. This confirms the vernier scale's construction. This supports the reading of the 24.00mm. The caliper's zero is clearly aligned at the 24mm mark. And, I will double-check. The 10 mark of the vernier aligns with the 63mm. This confirms that it reads 24.00mm. During the video, I will need to determine if the caliper reading changes at any point. I will scan through all the video frames and determine if the position of the vernier scale changes. The video shows the zero of the vernier scale is constantly at 24.0mm. Since the caliper appears stationary throughout, the reading remains constant at 24.00 mm. Now, I'll generate the timestamps based on the chronometer readings. The chronometer starts at 00:02.30. The video ends at 00:13.33. The timestamps are generated at 200ms intervals starting at 2400ms, and ending at 13200ms. I've re-examined the reading. The main scale reads 24mm and the vernier scale's zero is perfectly aligned. The readings I will output are: ```json [ {"ts_ms": 2400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 2600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 2800, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 3000, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 3200, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 3400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 3600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 3800, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 4000, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 4200, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 4400, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 4600, "reading": 24.0, "confidence": 1.0}, {"ts_ms": 4800, "reading": 24.0, "confidence":