## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
V7_10 divisions_per_second | ```json [ {"ts_ms": 4000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8200, "reading": 1.5, "confidence": 0.9}, {"ts_ms": 8400, "reading": 4.5, "confidence": 0.9}, {"ts_ms": 8600, "reading": 7.5, "confidence": 0.9}, {"ts_ms": 8800, "reading": 10.5, "confidence": 0.9}, {"ts_ms": 9000, "reading": 13.5, "confidence": 0.9}, {"ts_ms": 9200, "reading": 16.5, "confidence": 0.9}, {"ts_ms": 9400, "reading": 19.5, "confidence": 0.9}, {"ts_ms": 9600, "reading": 22.5, "confidence": 0.9}, {"ts_ms": 9800, "reading": 25.5, "confidence": 0.9}, {"ts_ms": 10000, "reading": 28.5, "confidence": 0.9}, {"ts_ms": 10200, "reading": 31.5, "confidence": 0.9}, {"ts_ms": 10400, "reading": 34.5, "confidence": 0.9}, {"ts_ms": 10600, "reading": 37.5, "confidence": 0.9}, {"ts_ms": 10800, "reading": 40.5, "confidence": 0.9}, {"ts_ms": 11000, "reading": 43.5, "confidence": 0.9}, {"ts_ms": 11200, "reading": 46.5, "confidence": 0.9}, {"ts_ms": 11400, "reading": 49.5, "confidence": 0.9}, {"ts_ms": 11600, "reading": 50.0, "confidence": 1.0}, {"ts_ms": 11800, "reading": 50.0, "confidence": 1.0}, {"ts_ms": 12000, "reading": 50.0, "confidence": 1.0}, {"ts_ms": 12200, "reading": 50.0, "confidence": 1.0}, {"ts_ms": 12400, "reading": 50.0, "confidence": 1.0}, {"ts_ms": 12600, "reading": 50.0, "confidence": 1.0}, {"ts_ms": 12800, "reading": 50.0, "confidence": 1.0}, {"ts_ms": 13000, "reading": 50.0, "confidence": 1.0}, {"ts_ms": 13200, "reading": 50.0, "confidence": 1.0}, {"ts_ms": 13400, "reading": 50.0, "confidence": 1.0}, {"ts_ms": 13600, "reading": 50.0, "confidence": 1.0}, {"ts_ms": 13800, "reading": 50.0, "confidence": 1.0}, {"ts_ms": 14000, "reading": 50.0, "confidence": 1.0} ] ``` | 55.88 | gemini-3-flash-preview | **Caliper Time-Series Extraction: A Deep Dive** Okay, let's break this down systematically. The objective is to extract a time-series of caliper readings from the video. The sampling interval is 200ms, and the video's digital chronometer is our time reference. I need to make sure I get this spot on. First, I need to pinpoint the start time. The chronometer begins at 00:03.85 (3850ms). The prompt specifies to start at the *first* 200ms integer *increment* from this point. That's 4000ms. I'm going to start there. Next, I need a list of all sampling points. I need to generate timestamps that are increments of 200ms from the starting point. I've calculated the sequence: 4000, 4200, 4400,... all the way to the end of the video. I've made sure to include 200ms increments up to 14000ms, covering the whole video sequence. I can use this as my framework. Now, the main task: reading the caliper at each of these sampling points. This is where the detail kicks in. I need to ensure accurate readings. I note that this is a vernier caliper with 1 mm graduations. The specified range is 0.0 to 50.0 mm. I can identify the main scale and the vernier scale and the zero point on the vernier is the reference. I can read the caliper by checking the frame at each sampling point, which I have to do. From the video, at 4000ms, the reading is clearly 0.0mm. I can track the movement of the caliper. At 8000 ms, the caliper starts moving. At 8200 ms, it's about 1.5mm. At 8400 ms, it's about 4.5mm. It's linear, which helps. I've checked the readings up to 11600ms. I can make sure that at 11600ms, it is at 50.0mm, and stops at 50. I need to confirm all the readings. Then I see that the movement starts at 8.1s. I will re-read the values more precisely, checking each frame and calibrating the readings: * 4000ms to 8000ms is 0.0 * 8200ms = 1.5 * 8400ms = 4.5 * 8600ms = 7.5 * 8800ms = 10.5 * 9000ms = 13.5 * 9200ms = 16.5 * 9400ms = 19.5 * 9600ms = 22.5 * 9800ms = 25.5 * 10000ms = 28.5 * 10200ms = 31.5 * 10400ms = 34.5 * 10600ms = 37.5 * 10800ms = 40.5 * 11000ms = 43.5 * 11200ms = 46.5 * 11400ms = 49.5 * 11600ms = 50.0 * 11800ms to 14000ms = 50.0 I'll check the timestamps and the readings again to ensure no errors. The starting point is 3850 ms, and the video ends at 14040 ms, so I must go up to 14000ms. At 8.2s the reading is 1.5. At 11.4s is 49.5. Given this, I have the full sequence of readings from the video. 4000: 0.0 4200: 0.0 4400: 0.0 4600: 0.0 4800: 0.0 5000: 0.0 5200: 0.0 5400: 0.