## Sheet1
sequence_id | raw_model_response | total_duration_sec | model_name | thinking_process
V7_10 divisions_per_second | ```json [ {"ts_ms": 4000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 4800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 5800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 6800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 7800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8000, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8200, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8400, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8600, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 8800, "reading": 0.0, "confidence": 1.0}, {"ts_ms": 9000, "reading": 0.8, "confidence": 0.8}, {"ts_ms": 9200, "reading": 2.5, "confidence": 0.8}, {"ts_ms": 9400, "reading": 4.2, "confidence": 0.8}, {"ts_ms": 9600, "reading": 5.8, "confidence": 0.8}, {"ts_ms": 9800, "reading": 7.5, "confidence": 0.8}, {"ts_ms": 10000, "reading": 9.1, "confidence": 0.8}, {"ts_ms": 10200, "reading": 10.5, "confidence": 0.8}, {"ts_ms": 10400, "reading": 12.0, "confidence": 0.8}, {"ts_ms": 10600, "reading": 13.4, "confidence": 0.8}, {"ts_ms": 10800, "reading": 14.9, "confidence": 0.8}, {"ts_ms": 11000, "reading": 16.3, "confidence": 0.8}, {"ts_ms": 11200, "reading": 16.4, "confidence": 0.95}, {"ts_ms": 11400, "reading": 16.4, "confidence": 0.95}, {"ts_ms": 11600, "reading": 16.4, "confidence": 0.95}, {"ts_ms": 11800, "reading": 16.4, "confidence": 0.95}, {"ts_ms": 12000, "reading": 16.4, "confidence": 0.95}, {"ts_ms": 12200, "reading": 16.4, "confidence": 0.95}, {"ts_ms": 12400, "reading": 16.4, "confidence": 0.95}, {"ts_ms": 12600, "reading": 16.4, "confidence": 0.95}, {"ts_ms": 12800, "reading": 16.4, "confidence": 0.95}, {"ts_ms": 13000, "reading": 16.4, "confidence": 0.95}, {"ts_ms": 13200, "reading": 16.4, "confidence": 0.95}, {"ts_ms": 13400, "reading": 16.4, "confidence": 0.95}, {"ts_ms": 13600, "reading": 16.4, "confidence": 0.95}, {"ts_ms": 13800, "reading": 16.4, "confidence": 0.95} ] ``` | 160.21 | gemini-3-pro-preview | **Analysis of Vernier Caliper Video for Measurement Extraction** Alright, let's break this down. My task is to carefully analyze a video of a vernier caliper and accurately extract measurements at specific time intervals. First things first, I need to fully understand the instrument itself. It's a vernier caliper; I see the main scale in centimeters and millimeters, and I note the crucial '1/20 mm' marking on the vernier scale, which means a precision of 0.05 mm (or so I thought initially). The reading method is standard: locate the vernier '0', read the main scale, find alignment, multiply the vernier line by 0.05 mm, and add it all up. Now, let's dissect the video. There's a stationary camera shot of the caliper with a smartwatch acting as a chronometer. The caliper jaws start closed (0.00 mm), then they open, stay open, and then move a bit. I need to note the time progression using the smartwatch's chronometer. My sampling protocol is to start with the first 200ms integer increment after the video starts, and sample every 200ms from there on. Since the video starts at around 00:03.85, the first timestamp to sample is 4000ms. I'll output the data as a JSON array. Now for the painstaking part: the actual extraction. Initially, it's straightforward; the reading is 0.00 mm for a significant duration. I need to identify the exact moment the jaws start to move. Based on visual cues, the motion commences around 8.9 seconds on the timer. I can see the caliper moving right around the 8.9-9.0 second mark. From there, I'm watching the numbers to interpolate the values. At the end, the vernier '0' ends up past the 16mm mark. The tricky part is finding the aligning vernier mark. At the video's end, the vernier is clearly past 16mm. I'm focusing on the alignment of the lines and making measurements by visual inspection. After careful inspection, the vernier '0' is at ~16.4mm, so now I need to figure out which line lines up. The fourth line is the one that aligns. Now the critical check. 16.4 requires the 8th division to align if the scale works as a standard. Is it the 4th line that aligns, or the 8th? Is this a 0.05mm caliper? The labels confuse me, but it should be 1/20mm, or 0.05mm. Now, I have to go back. Is it a 0.1mm caliper? This aligns with the fact that the 4th tick aligns, so maybe I'm misreading the labels. I check this with the geometry and the label "1/20mm". I decide to use the visual data: at the end: vernier 0 is at 16.4, the 4th tick aligns with 20. After several checks, the reading is 16.4mm. Okay, let's now break the motion down. Now I'm carefully calculating the values every 200 milliseconds, but I need to do some interpolation based on the provided frames. I see the main frames: `00:03.85`, `00:04.87`, `00:05.89`, `00:06.91`, `00:07.88`, `00:08.90`, `00:09.92`, `00:10.89`, `00:11.91`, `00:12.88`, and `00:13.90` (all but the first are visible as images). With each 200ms frame, I need to get the precise value. Here's the plan: I have 2 segments, (1) from 8.9s (where the video starts moving) to 9.92 (the first frame where it is open) and (2) 9.92 to the end point. Using these start and end points (8.9s to 11.2s), I do a linear interpolation with the available timestamps. Now for calculations. I'm going to do some linear interpolation based on the frames shown. I can measure it by checking the frame values and calculating it out. I've rechecked to use 8.9s to 11.2s, at which time the caliper stops moving. I have refined the calculations